## Worksheet
Schedule ID | Building Trade | Trade Category | Strategic Partner | Frequency | Description | Type | Scope | Site | Building | Floor | Room | No of Day(s) Before to Notify | Start Date | End Date | Exclude | Work Started Date | Work Completed Date | Attended By | Portal ID | Service Report Completed Date | Total Number of Service Reports | Total Number of Quantity in Service Reports | Asset Tag Number | Alert Case
4370 | Building | Room | Array Engineering & Facilties Management Pte Ltd | Quarterly | Consultation Room L8, 10, 12: Group 2 | Building | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4396 | Building Security System | CCTV System | Array Engineering & Facilties Management Pte Ltd | Quarterly | CCTV System | Building Security System | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4408 | Electrical | Call System | Array Engineering & Facilties Management Pte Ltd | Quarterly | Doctor Call System L2,8,10: Group 2 | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-22 10:23:14 | 2022-02-22 10:24:43 | Arasan Balasubramanian |  |  | 0 | 0
4418 | Electrical | Distribution Boards | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Electrical DBs L8-14: Group 2 | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-22 10:27:42 | 2022-02-22 10:28:11 | Arasan Balasubramanian |  |  | 0 | 0
4426 | Electrical | Standby Generator | Array Engineering & Facilties Management Pte Ltd | Monthly | Fuel Tank (Diesel) & Control Panel | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4438 | Electrical | Standby Generator | Array Engineering & Facilties Management Pte Ltd | Weekly | Generators (No Load Test 15 min) | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-21 11:36:18 |  |  |  |  | 0 | 0
4452 | Electrical | Standby Generator | Array Engineering & Facilties Management Pte Ltd | Monthly | Generator & Fuel Pump | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4467 | Electrical | Call System | Array Engineering & Facilties Management Pte Ltd | Quarterly | Nurse Call System | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4472 | Electrical | PA System | Array Engineering & Facilties Management Pte Ltd | Monthly | Public Address System | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-10 09:57:43 | 2022-02-10 09:58:32 | Li Fei |  |  | 0 | 0
4488 | Electrical | UPS | Array Engineering & Facilties Management Pte Ltd | Monthly | Uninterrupted Power Supply UPS | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-10 12:51:22 | 2022-02-10 12:53:03 | Arasan Balasubramanian |  |  | 0 | 0
4602 | Medical Equipment | Baby Cot | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Baby Cot | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4634 | Medical Equipment | Fridges & Freezers | Array Engineering & Facilties Management Pte Ltd | Quarterly | Fridges & Freezers: L1 - L2, L10-L13: Group 1 | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4655 | Medical Equipment | Medical Gas | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Medical Gas, Terminal, Zone Wall Unit L1, 2, 7: Group 1 | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 11:01:26 | 2022-02-21 09:19:05 | Muthu Shanmugavelu |  |  | 0 | 0
4666 | Medical Equipment | OT Surgeon Panel | Array Engineering & Facilties Management Pte Ltd | Monthly | OT Surgeon Panel | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 11:00:57 | 2022-02-13 11:38:36 | Muthu Shanmugavelu |  |  | 0 | 0
4678 | Medical Equipment | Patient Bed | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Patient Bed L7, 8, 9: Group 1 | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4702 | Plumbing & Sanitary | Emergency Shower | Array Engineering & Facilties Management Pte Ltd | Monthly | Emergency Shower in Histology Lab | Plumbing & Sanitary | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 17:06:44 | 2022-02-09 17:07:02 | Muthu Shanmugavelu |  |  | 0 | 0
4722 | Plumbing & Sanitary | Floor trap | Array Engineering & Facilties Management Pte Ltd | Quarterly | Floor Trap Inspection: L8-L15: Group 2 | Plumbing & Sanitary | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
4731 | Plumbing & Sanitary | Hot Water System | Array Engineering & Facilties Management Pte Ltd | Monthly | Heat Machine | Plumbing & Sanitary | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-21 08:48:13 | 2022-02-21 08:48:45 | Muthu Shanmugavelu |  |  | 0 | 0
4755 | Plumbing & Sanitary | Water Tank | Array Engineering & Facilties Management Pte Ltd | Monthly | Water Tank Visual Inspection at RH (L4, 15), RSC (L5, RT) | Plumbing & Sanitary | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-05 09:34:33 | 2022-02-09 17:05:37 | Muthu Shanmugavelu |  |  | 0 | 0
5042 | Mechanical | Split Unit | Array Engineering & Facilties Management Pte Ltd | Monthly | Air Con Split Unit | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:24:32 |  |  |  |  | 0 | 0
5054 | Mechanical | AHU / FCU / CU | Array Engineering & Facilties Management Pte Ltd | Monthly | Air Handling Unit AHU | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:20:28 |  |  |  |  | 0 | 0
5066 | Mechanical | Air Purifier | Array Engineering & Facilties Management Pte Ltd | Monthly | Air Purifier at Histology, Cytology, BMT Wards | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
5084 | Mechanical | Autodoor | Array Engineering & Facilties Management Pte Ltd | Quarterly | Auto Sliding Door for OR1-7: Group 2 | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 09:18:54 | 2022-02-13 16:57:43 | Rajendran Manikandan |  |  | 0 | 0
5097 | Mechanical | BMS / BAS | Array Engineering & Facilties Management Pte Ltd | Quarterly | Building Management System by Honeywell | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
5103 | Mechanical | Chiller(Carrier) | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Chilled Water Piping System L7-RT: Group 2 | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:19:33 | 2022-02-22 00:59:25 | Muthu Sathasivam |  |  | 0 | 0
5106 | Mechanical | Chilled Water Pumpset | Array Engineering & Facilties Management Pte Ltd | Monthly | Chilled Water Pump | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:18:41 |  |  |  |  | 0 | 0
5118 | Mechanical | Chiller(Carrier) | Array Engineering & Facilties Management Pte Ltd | Monthly | Chiller System (Carrier) | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 11:40:47 | 2022-02-19 09:29:52 | Muthu Sathasivam |  |  | 0 | 0
5134 | Mechanical | Lift & Escalators | Array Engineering & Facilties Management Pte Ltd | Monthly | Elevator & Escalator System by Fujitech | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-14 10:59:01 | 2022-02-21 09:19:54 | Li Fei |  |  | 0 | 0
5146 | Mechanical | Lift & Escalators | Array Engineering & Facilties Management Pte Ltd | Monthly | Elevator & Escalator System by Schindler | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-17 15:10:50 | 2022-02-17 15:11:13 | Li Fei |  |  | 0 | 0
5158 | Mechanical | AHU / FCU / CU | Array Engineering & Facilties Management Pte Ltd | Monthly | Fan Coil Unit FCU | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:11:47 |  |  |  |  | 0 | 0
5170 | Mechanical | Fire Protection System | Array Engineering & Facilties Management Pte Ltd | Monthly | Fire Fighting System - PPE for CERT (FCC) | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-07 17:48:35 | 2022-02-07 17:48:55 | Muthu Shanmugavelu |  |  | 0 | 0
5186 | Mechanical | Fire Extinguisher | Array Engineering & Facilties Management Pte Ltd | Quarterly | Fire Fighting System - Fire Extinguisher L8-14 | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-08 18:08:58 | 2022-02-21 17:03:31 | Muthu Shanmugavelu |  |  | 0 | 0
5202 | Mechanical | Hosereel and Hosereel Pump | Array Engineering & Facilties Management Pte Ltd | Monthly | Fire Fighting System - Inspection for Hosereel, Dry and Wet Risers | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-08 18:09:46 | 2022-02-13 11:03:06 | Muthu Shanmugavelu |  |  | 0 | 0
5214 | Mechanical | Pre-action / Sprinkler | Array Engineering & Facilties Management Pte Ltd | Monthly | Fire Fighting System - Pre-action/Sprinkler (B2, L11 Radiology) | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 10:59:12 | 2022-02-13 11:00:13 | Muthu Shanmugavelu |  |  | 0 | 0
5225 | Mechanical | Fire Protection System | Array Engineering & Facilties Management Pte Ltd | Quarterly | Fire Fighting System - Water Monitoring System at L19 | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
5230 | Mechanical | Fire Alarm / Detection System | Array Engineering & Facilties Management Pte Ltd | Monthly | Fire Alarm System - Fire Alarm System by GIB | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-05 09:32:34 | 2022-02-05 16:27:51 | Muthu Shanmugavelu |  |  | 0 | 0
5269 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Array Engineering & Facilties Management Pte Ltd | Yearly | Lifting Hoist at L3 SP Power Station - PE Inspection | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-07 14:39:52 | 2022-02-07 14:42:18 | Li Fei |  |  | 0 | 0
5271 | Mechanical | Mechanical Ventilation | Array Engineering & Facilties Management Pte Ltd | Monthly | Mechanical Ventilation System for FAF, EAF, SPF | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
5286 | Mechanical | Pump | Array Engineering & Facilties Management Pte Ltd | Quarterly | Pumps for Plumbing & Sanitary System | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-07 17:47:52 | 2022-02-08 18:08:21 | Muthu Shanmugavelu |  |  | 0 | 0
5297 | Mechanical | Cooling Tower | Array Engineering & Facilties Management Pte Ltd | Monthly | Water Sampling Test for Cooling Tower on Standard Platecount | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0
6310 | Building License | Calibration Cert | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Gas Detector BWS-N-Y (for Nitric Oxide used by OT) | Building License | Calibration | RMG |  |  |  | 90 | 2022-02-21 | 2022-02-21 |  | 2022-02-17 14:57:23 | 2022-02-21 09:18:06 | Muthu Shanmugavelu |  |  | 0 | 0
6453 | Medical Equipment | Medical Gas | Array Engineering & Facilties Management Pte Ltd | Quarterly | Medical Compressed Air Cum Dryer at L3 | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 | [6 empty] | 0 | 0